## Slide 1: FPT SOFTWARE HO CHI MINH CITY VIET NAM NATIONAL UNIVERSITY HO CHI MINH CITY UNIVERSITY OF SCIENCE
REPORT MOCK PROJECT
WHEELCHAIR ACCIDENT DETECTOR
WAD
Group 4
Ho Chi Minh City, August 13th, 2018.

## Slide 2: CONTENT
1. PROBLEM
2. OVERVIEW PROJECT
3. OPERATING PRINCIPLE
4. DEMO
5. CONCLUSION

## Slide 3: CONTENT
1. PROBLEM
2. OVERVIEW PROJECT
3. OPERATING PRINCIPLE
4. DEMO
5. CONCLUSION

## Slide 4: 1. PROBLEM
Supervising and supporting on time

## Slide 5: CONTENT
1. PROBLEM
2. OVERVIEW PROJECT
3. OPERATING PRINCIPLE
4. DEMO
5. CONCLUSION

## Slide 6: 2. OVERVIEW PROJECT

## Slide 7: CONTENT
1. PROBLEM
2. OVERVIEW PROJECT
3. OPERATING PRINCIPLE
4. DEMO
5. CONCLUSION

## Slide 8: 3. OPERATING PRICIPLE
HARDWARE
Module Lora SX1278
Module size:21*36mm
Antenna type: Standard SMA antenna (FREE)
Power supply:2.3V-5.5V DC
Communication level:5.2V(max)
Transmission distance:3000m(max)
Maximum powAer:2dB(100mW)
Air rates:2.4Kbps
Emission current:130mA @ 100mW
Receiving current:13.5mA @ Mode 0, Mode 1
Sleep Current:2.0uA(M1=1,M1=0)
Emission length:256 Byte
Receive length:256 Byte
Communication Interface: UART
RSSI support: Yes
Working frequency:410MHz-441MHz(Default 433MHz)
Operating temperature:-30?~+85?
Receiver sensitivity:-130dBm @ 1.2Kbps

## Slide 9: 3. OPERATING PRICIPLE
HARDWARE
USB UART Lora SX1278 Transmission
Modes of the module

## Slide 10: 3. OPERATING PRICIPLE
HARDWARE
Configuring Modes

## Slide 11: 3. OPERATING PRICIPLE
HARDWARE
Connection Lora with PC and microcontroller

## Slide 12: 3. OPERATING PRICIPLE
HARDWARE
https://www.udoo.org/docs-neo/Introduction/Introduction.html

## Slide 13: 3. OPERATING PRICIPLE
HARDWARE
  UDOO Neo Motion Sensor

## Slide 14: 3. OPERATING PRICIPLE
HARDWARE
    Accelerometer and Magnetometer: FXOS8700CQ
I2C address: 0x1E
Small
Low-power
3-axis linear accelerometer
3-axis magnetometer
I2C with 14-bit accelerometer and 16-bit

## Slide 15: 3. OPERATING PRICIPLE
HARDWARE
    Gyroscope: FXAS21002C
I2C address: 0x20
Small
Low-power
Yaw, pitch, and roll angular rate gyroscope with 16 bit ADC resolution

## Slide 16: 3. OPERATING PRICIPLE
SOFTWARE

## Slide 17: 3. OPERATING PRICIPLE
SOFTWARE

## Slide 18: CONTENT
1. PROBLEM
2. OVERVIEW PROJECT
3. OPERATING PRINCIPLE
4. DEMO
5. CONCLUSION

## Slide 19: 4. DEMO

## Slide 20: CONTENT
1. PROBLEM
2. OVERVIEW PROJECT
3. OPERATING PRINCIPLE
4. DEMO
5. CONCLUSION

## Slide 21: 5. conclusion
ADVANTAGES
Light weigth
Saving Energy
Easy to use
Wide range
DIFFICULTIES
High price
Accuracy is not high

## Slide 22: Q&A

## Slide 23: THANKs FOR LISTENING